| Location / Sites: Various | Task / Activity: Rail Site Management | # Spillages and general conditions - 2 |
| --- | --- | --- |

| Name: Matt Traynor | Position: Managing Director | Date: Jan 2021 | Ref No: RSM03 |
| --- | --- | --- | --- |

| No | Hazard Identification | Associated risks | Who & Number at risk | Existing control measures | Consequence | likelihood | Current risk rating | Additional controls | Consequence | likelihood | Post risk rate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Leakage of LPG | Risk of uncontrolled fire and explosion | All | Cylinders to be obtained from a recognised reputable source. Only enough LPG to be taken to site for work required. Cylinder to be anchored in an upright position in van, on link trolley when travelling and in use. | 4 | 3 | 12 | Only competent operators to change cylinders and use LPG equipment. Visual check of cylinder and isolating cock to be made before use. LPG to be used in ventilated areas only. All LPG equipment to be maintained by competent individual on a regular basis. | 4 | 2 | 8 |
| 2 | Spillage of petrol | Risk of uncontrolled fire and explosion | All | Petrol to be stored in a purpose designed container. Only enough petrol to be taken to site for work required. Petrol container to be anchored in an upright position in van, on link trolley when travelling and in use. | 4 | 3 | 12 | Only competent operators to fuel plant and use petrol powered equipment. Visual check of petrol container to be made before use. Petrol to be decanted in ventilated areas only. All petrol powered equipment to be maintained by competent individual on a regular basis. | 4 | 2 | 8 |

Matt Traynor

Managing Director

January 2021